## 工作表1
汇报编号 | 汇报时间 | 汇报人 | 汇报人部门 | 汇报对象 | 日期+时间（必填） | 水箱水位（必填） | 水位照片（必填） | 供水压力（必填） | 压力表照片（必填） | 是否漏水/报警（必填） | 漏水/报警异常说明（必填） | 机房卫生（必填） | 机房照明（必填） | 机房照片（东南）（必填） | 机房照明（西南）（必填） | 机房巡检表（必填） | 评论
1863858567678667 | 2026-04-30 09:56 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/30 9:54 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADELTIufzzAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEEwnh0VLAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEvGMXlzLAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEqrke2U2AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEOAw4PFBAWgAOQb3AK4
1863771570976056 | 2026-04-29 10:52 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/29 10:51 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEpZVvmiEAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEYj01C2AAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEJI67QqbAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE2c0qpOjAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEdr364fVAWgAOQb3AK4
1863781066880315 | 2026-04-29 13:23 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/29 13:22 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE0N1j1YqAWgAOQb3AK4 | 0.43 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEMxoH2WAAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEF1Yt9svAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEQxVWQ13AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEMHjvI5jAWgAOQb3AK4
1863674621233865 | 2026-04-28 09:11 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/28 9:10 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4Yy93CSAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE0hFrmSdAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEcXMHyOqAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEe1IFsUFAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADESo0kpu6AWgAOQb3AK4
1863719676239242 | 2026-04-28 21:12 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/28 21:9 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEOdrm011AWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEIUxu8C5AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEBQr95EjAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEV897HxoAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1863586590635318 | 2026-04-27 09:52 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/27 9:51 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEY7MdRXMAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEiVKSU0bAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEpemfFv5AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEVqX12KRAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEn4RAhAQAWgAOQb3AK4
1863601522357553 | 2026-04-27 13:49 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/27 13:48 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE6nWBH0SAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4w01v0WAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEECjG1IeAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEJjsnJkaAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEPuwUKaRAWgAOQb3AK4
1863629233413515 | 2026-04-27 21:09 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/27 21:9 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEEOkpUe2AWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEZ2TFHFCAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE2Fwun9nAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEm1H11vvAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1863494785206989 | 2026-04-26 09:33 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/26 9:31 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4Yy93CSAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE0hFrmSdAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEcXMHyOqAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEe1IFsUFAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEkm8bma1AWgAOQb3AK4
1863540002074692 | 2026-04-26 21:33 | 夏志余 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/26 21:30 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEPUrNMZ9AWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEzT01yV8AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEN8V02rbAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEAO2sYicAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEci0bdCVAWgAOQb3AK4
1863405151335739 | 2026-04-25 09:48 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/25 9:47 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEVn1gjsuAWgAOQb3AK4 | 0.47 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7hZfzx9AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEPNMBhC9AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEF7B0kqhAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEffAvUzEAWgAOQb3AK4
1863422252561716 | 2026-04-25 14:20 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/25 14:19 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEVwSPlWjAWgAOQb3AK4 | 0.42 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEy6vgTU5AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE1qpJpVRAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEIcGA0F5AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4QnIw53AWgAOQb3AK4
1863313654188751 | 2026-04-24 09:35 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/24 9:32 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4Yy93CSAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE0hFrmSdAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEcXMHyOqAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEe1IFsUFAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEcsGCfnHAWgAOQb3AK4
1863356973800838 | 2026-04-24 21:03 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/24 21:1 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEEOkpUe2AWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEZ2TFHFCAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE2Fwun9nAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEm1H11vvAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1863223678481727 | 2026-04-23 09:44 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/23 9:42 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEvJCqI3YAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEqnF47CmAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEAZF1ylcAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEvpYoZIVAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE0GmM7AOAWgAOQb3AK4
1863241092183350 | 2026-04-23 14:20 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/23 14:19 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7CJ8IGSAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEv50uOBmAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE0Zo1qcoAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4H3ThtvAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE3LSWGlbAWgAOQb3AK4
1863265939578250 | 2026-04-23 21:00 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/23 20:59 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEKNJcDHBAWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEotPfD30AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEOK8TQ5XAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEN3Man1GAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1863132106885838 | 2026-04-22 09:29 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/22 9:27 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4vz0k7FAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEMyNJF6kAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEQgtUUMAAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEnyM7IJmAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEZTa0CSFAWgAOQb3AK4
1863177951850572 | 2026-04-22 21:37 | 夏志余 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/22 21:36 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADESMQtNxkAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADENsAbBI6AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE9D70FAAAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEAyz6kDhAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADErm2WznfAWgAOQb3AK4
1863042567386427 | 2026-04-21 09:45 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/21 9:44 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEGL0pYksAWgAOQb3AK4 | 0.47 | https://drive.weixin.qq.com/s?k=AGAAWgfFADErgXYzPyAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4UH4ke8AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADESfror07AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE1KUrYZcAWgAOQb3AK4
1863059653932347 | 2026-04-21 14:16 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/21 14:15 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEzJcpr5XAWgAOQb3AK4 | 0.49 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEhkTrov0AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEDpiTZnyAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEj8tlMJGAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE8QShYeaAWgAOQb3AK4
1862964307234107 | 2026-04-20 13:01 | 邹巧军 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/20 13:0 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEF7Sz2Y9AWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEVUVPCYzAWgAOQb3AK4 | 否 | 正常 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEsx0wlu5AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE6QtIhXCAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEWVD3beBAWgAOQb3AK4
1862995236052360 | 2026-04-20 21:13 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/20 21:11 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEKNJcDHBAWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEotPfD30AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEOK8TQ5XAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEN3Man1GAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1862859941098805 | 2026-04-19 09:22 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/19 9:21 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEHFd7DtCAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEWdWCx5uAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEH9d93v7AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEG2Da6L4AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADELsJFs2TAWgAOQb3AK4
1862878879429941 | 2026-04-19 14:23 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/19 14:22 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADESZ4hNjnAWgAOQb3AK4 | 046 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE0fnzdFGAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEzFNl4QIAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEpkVrqUrAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADENpg0MIXAWgAOQb3AK4
1862902852312454 | 2026-04-19 20:48 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/19 20:48 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE99Py5dCAWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADED3e5SYEAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEE0saEYQAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEQK8A7MIAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1862769342581440 | 2026-04-18 09:22 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/18 9:21 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEaM1wLemAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEdBxb1UMAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEgGJ9sjaAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEnDzCoP1AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEpQCpP89AWgAOQb3AK4
1862680209929530 | 2026-04-17 09:45 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/17 9:44 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEUnoE7fkAWgAOQb3AK4 | 0.44 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEBZlSZElAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEN0KkNp6AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEr74J0UhAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7xyi48LAWgAOQb3AK4
1862696506897727 | 2026-04-17 14:04 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/17 14:3 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE3KpUN5VAWgAOQb3AK4 | 0.47 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEvc1Dz7mAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADErIDf8b2AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADET2nOVRnAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEzN0XDokAWgAOQb3AK4
1862590917937862 | 2026-04-16 10:07 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/16 10:5 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEaM1wLemAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEdBxb1UMAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEgGJ9sjaAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEnDzCoP1AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEwrAq1R0AWgAOQb3AK4
1862632091114881 | 2026-04-16 21:00 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/16 20:59 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE99Py5dCAWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADED3e5SYEAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEE0saEYQAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEQK8A7MIAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1862503065597238 | 2026-04-15 10:50 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/15 10:49 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEjqXCKhOAWgAOQb3AK4 | 0.44 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE21SwhECAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADExdNuoAwAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEb4gffHRAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE15bLgudAWgAOQb3AK4
1862515447182644 | 2026-04-15 14:07 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/15 14:5 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEUnoE7fkAWgAOQb3AK4 | 0.44 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEBZlSZElAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEN0KkNp6AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEr74J0UhAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEHmNVknqAWgAOQb3AK4
1862542845762948 | 2026-04-15 21:23 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/15 21:21 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE99Py5dCAWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADED3e5SYEAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEE0saEYQAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEQK8A7MIAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1862406163040970 | 2026-04-14 09:09 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/14 9:8 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEhfjAbtBAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEkp1TxelAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEm8lJhAiAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE1r0hGGtAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4PrweUJAWgAOQb3AK4
1862318280291642 | 2026-04-13 09:53 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/13 9:51 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE4Jmc101AWgAOQb3AK4 | 0.43 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEh1a0rrwAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEGhPd24qAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE9xhtahhAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEfsh5qpaAWgAOQb3AK4
1862333487789374 | 2026-04-13 13:55 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/13 13:53 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEE1meiY1AWgAOQb3AK4 | 0.48 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEyF4ZpsiAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE59j7rZcAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEY5DPub3AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEPNaw19bAWgAOQb3AK4
1862227512953550 | 2026-04-12 09:50 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/12 9:49 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEhfjAbtBAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEkp1TxelAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEm8lJhAiAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE1r0hGGtAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEDrrJbYQAWgAOQb3AK4
1862269306887563 | 2026-04-12 20:54 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/12 20:53 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE16W9a20AWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEKNGcvmIAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEnnyvBKZAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEqGVS3RzAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1862135580603703 | 2026-04-11 09:29 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/11 9:27 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEWtsEye1AWgAOQb3AK4 | 0.44 | https://drive.weixin.qq.com/s?k=AGAAWgfFADERh7AFxTAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEDxS051bAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEM4q23FTAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEtdDr1isAWgAOQb3AK4
1862154164516152 | 2026-04-11 14:24 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/11 14:23 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEey0R4QCAWgAOQb3AK4 | 0.43 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEhzb0r1NAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE3xzXhC5AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEPIpQGVhAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE1Dn4lg0AWgAOQb3AK4
1862179258326402 | 2026-04-11 21:04 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/11 21:2 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE16W9a20AWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEKNGcvmIAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEnnyvBKZAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEqGVS3RzAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1862047224990411 | 2026-04-10 10:05 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/10 10:3 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEhfjAbtBAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEkp1TxelAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEm8lJhAiAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE1r0hGGtAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEYnkYJOnAWgAOQb3AK4
1861955246503227 | 2026-04-09 10:43 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/9 10:42 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEoxQq2F0AWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEfKLrkTjAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEDOh8Nw6AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEW7ha23OAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEtPdtl9rAWgAOQb3AK4
1861970659521849 | 2026-04-09 13:47 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/9 13:46 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE5gNrM8xAWgAOQb3AK4 | 0.43 | https://drive.weixin.qq.com/s?k=AGAAWgfFADErBDuQS5AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7jVfTpPAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEIYemWfFAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEJlPxYMsAWgAOQb3AK4
1861866670688967 | 2026-04-08 10:14 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/8 10:13 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEARFntVdAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEETJKlWYAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE1pNEsdaAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEPvjSDYhAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEX0bJRrFAWgAOQb3AK4
1861907750542722 | 2026-04-08 21:07 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/8 21:6 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEqxoiERYAWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE05IhycOAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEZPdFvxTAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEAO7y8ZPAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1861789791696177 | 2026-04-07 13:52 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/7 13:51 | 无 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEORTs0W3AWgAOQb3AK4 | 0.44 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE077rA1EAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEWHDffSFAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEX01qpbfAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEdionXeMAWgAOQb3AK4
1861816231878027 | 2026-04-07 20:52 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/7 20:52 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEqxoiERYAWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE05IhycOAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEZPdFvxTAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEAO7y8ZPAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1861681821922613 | 2026-04-06 09:17 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/6 9:15 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEdCf4yGgAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEFwxvtyOAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEp3OBlmiAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEaUHUzK0AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADER5x0kwhAWgAOQb3AK4
1861701020300592 | 2026-04-06 14:22 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/6 14:20 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEuVPf26wAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE9c6ivs4AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEdceQSPrAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEk8TWEgZAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEYswxhepAWgAOQb3AK4
1861728092106831 | 2026-04-06 21:33 | 夏志余 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/6 21:31 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADExWdYm0hAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEhzj7KVcAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEC8rJ8zBAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEFXlVcpHAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE8mnVV1LAWgAOQb3AK4
1861593915602237 | 2026-04-05 10:00 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/5 9:58 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE5YeaX9VAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEj1oSjg8AWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADENKuoj7aAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEjGcZgv8AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEVBBVPu7AWgAOQb3AK4
1861610333156670 | 2026-04-05 14:20 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/5 14:19 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEZJeRKp0AWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEINnVGdZAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEnz1fe9vAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEYrKISq4AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEPx0k6eJAWgAOQb3AK4
1861636113117255 | 2026-04-05 21:12 | 夏志余 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/5 21:9 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEOS3moLtAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEOvXXJITAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE2LkIFd9AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEJqSm8GNAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEL1Wc4D6AWgAOQb3AK4
1861501389802182 | 2026-04-04 09:28 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/4 9:27 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEARFntVdAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEETJKlWYAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE1pNEsdaAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEPvjSDYhAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEUk7s1hVAWgAOQb3AK4
1861544258526593 | 2026-04-04 20:54 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/4 20:53 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEqxoiERYAWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE05IhycOAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEZPdFvxTAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEAO7y8ZPAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1861412417582385 | 2026-04-03 09:54 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/3 9:53 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEoWwJg5PAWgAOQb3AK4 | 0.45 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEUyyRqQJAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEEpW2OYqAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEnG0rAfuAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEL2zEAjgAWgAOQb3AK4
1861427293730103 | 2026-04-03 13:51 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/3 13:50 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE86hfrOsAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE9XBq0CyAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADET3tRIC0AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADETBW4ePzAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEzhGPUVgAWgAOQb3AK4
1861454365154701 | 2026-04-03 21:02 | 俞红星 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/3 21:0 | 3 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEqxoiERYAWgAOQb3AK4 | O点46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE05IhycOAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEZPdFvxTAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEAO7y8ZPAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE7x19GKFAWgAOQb3AK4
1861324045191880 | 2026-04-02 10:30 | 王黎佳 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/2 10:28 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEARFntVdAWgAOQb3AK4 | 0.46 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEETJKlWYAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE1pNEsdaAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEPvjSDYhAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADErSSLrKJAWgAOQb3AK4
1861231521445170 | 2026-04-01 09:59 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/1 9:58 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEg70dBKbAWgAOQb3AK4 | 0.41 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEYc0sYwsAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE2s3z1N7AWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEOR3vAxgAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEoEaJOodAWgAOQb3AK4
1861245565023546 | 2026-04-01 13:42 | 朱寅 | 璟邑科技/无锡国际会议中心项目 | 丛洪忠,成金军,杜宪奎,钱锐 | 2026/4/1 13:41 | 3.0 | https://drive.weixin.qq.com/s?k=AGAAWgfFADE2Bn20WUAWgAOQb3AK4 | 0.48 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEMWAQ1mrAWgAOQb3AK4 | 否 | 无 | 干净 | 正常 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEpPoSfNjAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADELP7KoxHAWgAOQb3AK4 | https://drive.weixin.qq.com/s?k=AGAAWgfFADEWEmyj1aAWgAOQb3AK4